{"text_format":"1","workbook":"xlsx","n_sheets":9,"sheets":["Info","Trassid","Hydrandid","Kaevud","S6lmed","Sulgeseadmed","Reoveepumplad","Puurkaev_pumpla","Reoveepuhastid"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Info","index":0,"n_rows":2,"n_cols":11,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
["ID","T88_nr","T88_nimi","Teostaja_nimi","Kontakt","M66distaja","CAD_faili_nimi","M66tkava","M66tmise_kpv","Vald","Asula"]
[1,"TM17029","Tartu maakond, Elva linn, Kesk tn 32 ja 34 kinnistute veetorustiku teostusmõõdistus","Geoweb OÜ","Lutsu 16-17, Tartu","Meelis Võsaste","TM17029_Elva_Kesk_tn_32_ja_34_V_torustiku_teostumoodistus_240817.dgn",500,"2017-08-24","Elva linn","Elva linn"]

{"sheet":"Trassid","index":1,"n_rows":44,"n_cols":10,"rows_kept":44,"cut":false,"hidden":false,"merged":[]}
["ID"," Kood","X","Y","Z","L2bim66t","Materjal","Otstarve","Ehitusaasta","M2rkus"]
[1,501,6456182.483,642032.46600000001,44.75,63,"PE","Majaühendus",2017,"ühendusmuhv"]
[1,null,6456182.4649999999,642032.27500000002,44.75]
[1,null,6456182.6349999998,642032.18400000001,44.75]
[1,null,6456183.5619999999,642031.68500000006,44.7]
[1,null,6456184.6040000003,642031.03099999996,44.63]
[1,null,6456189.8119999999,642029.34299999999,44.57]
[1,null,6456192.7180000003,642028.50600000005,44.57]
[1,null,6456195.5250000004,642027.50800000003,44.63]
[1,null,6456201.2089999998,642025.60900000005,44.62]
[1,null,6456210.2019999996,642021.79700000002,44.3]
[1,null,6456215.9129999997,642020.02099999995,44.02]
[1,null,6456219.1720000003,642018.97600000002,44.04]
[1,null,6456222.2230000002,642017.76899999997,44]
[1,null,6456225.4179999996,642016.52599999995,43.94]
[1,null,6456230.2350000003,642014.97699999996,43.7]
[1,null,6456232.9809999997,642014.08600000001,43.65]
[1,null,6456236.0029999996,642013.09499999997,43.63]
[1,null,6456238.7779999999,642012.24699999997,43.68]
[1,null,6456244.5499999998,642010.48699999996,43.98]
[1,null,6456245.176,642010.19700000004,44.09]
[1,null,6456245.7649999997,642011.26500000001,44.19]
[1,null,6456247.0860000001,642014.53,44.03]
[1,null,6456248.3820000002,642017.20299999998,44.01]
[1,null,6456249.8269999996,642020.022,44.1]
[1,null,6456251.0379999997,642022.75399999996,44.08]
[1,null,6456252.1869999999,642025.67299999995,43.92]
[1,null,6456253.2510000002,642028.46100000001,43.92]
[1,null,6456256.2029999997,642035.55799999996,43.52]
[1,null,6456257.148,642038.14599999995,43.48]
[1,null,6456258.0389999999,642041.68999999994,43.46]
[2,501,6456258.0389999999,642041.68999999994,43.46,40,"PE","Majaühendus",2017]
[2,null,6456259.5939999996,642045.31099999999,43.35]
[2,null,6456261.5080000004,642049.02300000004,43.35]
[2,null,6456262.1919999998,642050.77300000004,43.4]
[2,null,6456263.0020000003,642052.40800000005,43.32]
[2,null,6456264.3130000001,642056.79700000002,43.41]
[2,null,6456264.4689999996,642057.47600000002,45.34,null,null,null,null,"toru ots pinnale toodud"]
[3,501,6456210.2019999996,642021.79700000002,44.3,40,"PE","Majaühendus",2017]
[3,null,6456211.0389999999,642024.29500000004,44.74]
[3,null,6456211.2740000002,642025.02300000004,44.75,null,null,null,null,"toru hoonesse"]
[4,501,6456257.148,642038.14599999995,43.48,32,"PE","Majaühendus",2017]
[4,null,6456258.9280000003,642037.81900000002,43.97]
[4,null,6456259.7790000001,642037.647,44.01,null,null,null,null,"toru hoonesse"]

{"sheet":"Hydrandid","index":2,"n_rows":1,"n_cols":10,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["ID","X","Y","Maapinna_Z","T2histus","Tyyp","Mark","Toru_l2bim66t","Ehitusaasta","M2rkus"]

{"sheet":"Kaevud","index":3,"n_rows":1,"n_cols":21,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["ID"," Kood","X","Y","Maapinna_Z","P6hi","Kaane_l2bim66t","Kaane_materjal","Kaane_tyyp","Kaane_k6rgus","Kaevu_l2bim66t","Kaevu_materjal","Kaevu_tyyp","M2rkus","Ehitusaasta","Toru1","Toru2","Toru3","Toru4","Toru5","Toru6"]

{"sheet":"S6lmed","index":4,"n_rows":9,"n_cols":11,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["ID","Kood","Otstarve","X","Y","K6rgus","Maapinna_Z","Ehitusaasta","M2rkus","Skeemi_nr","L2bim66t"]
[1,515,"Muhv",6456182.483,642032.46600000001,44.75,46.81,2017,null,null,90]
[2,515,"Põlv",6456182.4649999999,642032.27500000002,44.75,46.81,2017,null,null,90]
[3,515,"Siirdmik",6456182.6349999998,642032.18400000001,44.75,46.81,2017,null,null,"90/75+90/63"]
[4,515,"Sadul",6456210.2019999996,642021.79700000002,44.3,46.77,2017,null,null,"63/40"]
[5,515,"Põlv",6456245.176,642010.19700000004,44.09,45.9,2017,null,null,63]
[6,515,"Sadul",6456257.148,642038.14599999995,43.48,45.83,2017,null,null,"63/32"]
[7,515,"Siirdmik",6456258.0389999999,642041.68999999994,43.46,45.72,2017,null,null,"63/40"]
[8,515,"Otsakork",6456264.4689999996,642057.47600000002,45.34,45.34,2017,"toru ots pinnale toodud"]

{"sheet":"Sulgeseadmed","index":5,"n_rows":4,"n_cols":9,"rows_kept":4,"cut":false,"hidden":false,"merged":[]}
["ID","X","Y","K6rgus","Maapinna_Z","Tyyp","Otstarve","M2rkus","Ehitusaasta"]
[1,6456261.5080000004,642049.02300000004,43.35,45.53,"Maakraan","Majaühenduse kraan","DN32",2017]
[2,6456211.0389999999,642024.29500000004,44.74,46.77,"Maakraan","Majaühenduse kraan","DN32",2017]
[3,6456258.9280000003,642037.81900000002,43.97,45.78,"Maakraan","Majaühenduse kraan","DN25",2017]

{"sheet":"Reoveepumplad","index":6,"n_rows":1,"n_cols":24,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["ID","X","Y","K6rgus","Pumpla_nimi","Pumpla_tyyp","Pumpla_v6imsus_m3_d","Pumpla_ehitusaasta","Pumpade_arv","1_pump_pumpamisv6imsus_m3_h","1_pump_t6stek6rgus_m","1_pumba_mark","1_pump_ehitusaasta","2_pump_pumpamisv6imsus_m3_h","2_pump_t6stek6rgus_m","2_pumba_mark","2_pump_ehitusaasta","3_pump_pumpamisv6imsus_m3_h","3_pump_t6stek6rgus_m","3_pumba_mark","3_pump_ehitusaasta","Signalisatsioon","Kaugjuhitav","M2rkus"]

{"sheet":"Puurkaev_pumpla","index":7,"n_rows":1,"n_cols":18,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["ID","X","Y","K6rgus","Puurkaevu_tyyp","Astmelisus","Puurkaevu_nimi","Passi_katastri_number","Puurkaevu_tootlikkus_m3_d","Pumba_t6stek6rgus_m","Pumba_v6imsus","Pumba_tootlikkus_m3_d","Pumpade_arv","Kaugjuhitav","Signalisatsioon","Veet88tlusega","Puurkaevu_ehitusaasta","M2rkus"]

{"sheet":"Reoveepuhastid","index":8,"n_rows":1,"n_cols":20,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["ID","X","Y","K6rgus","Biotiik","Yhtlustusmahuti_x_m3","L2mmastiku_mahuti_x_m3","Aeratsioonimahuti_x_m3","J2relsetiti_x_m2","Mudatihendi_x_m3","Aktiivmudapuhasti_l2bivooluga","Aktiivmudapuhasti_SBR","Nimi","J6udlus","Kaugjuhitav","Septik","Signalisatsioon","Tyyp","Ehitusaasta","M2rkus"]